## Introduction
Building Energy Data Exchange Specification (BEDES) Compliant Mapping
Date | 2018-04-18
Implementation | Seattle Tune-up Accelerator
Implementation Version | 2018-02-21
BEDES Version | V2.1
For more information about BEDES, please visit | https://bedes.lbl.gov/bedes-online

## BuildingInfo
Table | Field Name | Data Type | Units | Source | Description | BEDES Term | BEDES Mapping | BEDES Units | BEDES Notes | Seattle comments
Input1Building | TUA ID | Short Text | - | LookupBuilding | Every building enrolled for Tune-up Accelerator program is assigned a TUA ID, which is primary key for most of the tables and will serve as a reference for assessment elements and other fields | TUA Identifier | Custom Identifier Label = "TUA" Identifier = [value]
Input1Building | BuildingID | Number | - | LookupBuilding | This is Energy Benchmarking City of Seattle ID | Building Identifier | Premises Level = "Building" Identifier = [value]
Input1Building | BuildingName | Short Text | - | LookupBuilding | Name of the building | Building Name Identifier | Premises Level = "Building" Identifier Label = "Name" Identifier = [value]
Input1Building | Address | Short Text | - | LookupBuilding | Address of Building | Address Line 1 | Address Line 1 = [value]
Input1Building | City | Short Text | - | LookupBuilding | City location of building | City | City = [value]
Input1Building | State | Short Text | - | LookupBuilding | State location of building | State | State = [value]
Input1Building | ZipCode | Short Text | - | LookupBuilding | Zipcode of building | ZIP Code | ZIP Code = [value]
Input1Building | YearBuiltDateTime | Number | - | LookupBuilding | Year built | Completed Construction Status Date | Construction Status = "Completed" Construction Status Date = [value] Date Format = "Year" | Year
Input1Building | OSE_GFANoParking | Number | sq. ft. | LookupBuilding | Space in the building less parking that is expected to tune-up and used to determine program eligbility. | Gross Floor Area | Floor Area Qualifier = "Gross" Opaque Surface = "Floor" Area = [value] | ft2
Input1Building | OSE_ParkingTotal | Number | sq. ft. | LookupBuilding | Total SF classified as "parking" in the building. | Parking Area | Occupancy Classification = "Parking" Area = [value] | ft2 | Appears to be parking area, but Description is unclear. | YES, this was correct, decription updated because it was unclear - thanks!
Input1Building | PMReportedGFA | Number | sq. ft. | LookupBuilding | GFA Reported from Portofolio Manager, used to estimate incentives. | Portfolio Manager Gross Floor Area | Assessment Tool = "Portfolio Manager" Floor Area Qualifier = "Gross" Opaque Surface = "Floor" Area = [value] | ft2
Input1Building | SCLVEACustomer | Short Text | - | LookupBuilding | Customer name if eligible for SCL Virtual Energy Assessment (VEA) | Customer Contact Name | Contact Label = "Customer" Contact Name = [value]
Input1Building | EPABuildingTypeName | Short Text | - | LookupBuilding | Primary Building type from PM | Portfolio Manager Occupancy Classification | Assessment Tool = "Portfolio Manager" Occupancy Classification = [value]
Input1Building | LargestPropertyUseType | Short Text | - | LookupBuilding | Largest property type from PM | Primary Occupancy Classification | Priority = "Primary" Occupancy Classification = [value]
Input1Building | SecondLargestPropertyUseType | Short Text | - | LookupBuilding | Second Largest property type from PM | Secondary Occupancy Classification | Priority = "Secondary" Occupancy Classification = [value]
Input1Building | ThirdLargestPropertyUseType | Short Text | - | LookupBuilding | Third Largest property type from PM | Tertiary Occupancy Classification | Priority = "Tertiary" Occupancy Classification = [value]
Input1Building | EPABuildingID | Number | - | LookupBuilding | Energy Star Portfolio Manager EPA ID | Portfolio Manager Identifier | Assessment Tool = "Portfolio Manager" Identifier = [value]
Input1Building | 2016SiteEUI | Number | kbtu/sf/yr | LookupBuilding | 2016 Site EUI from PM non-normalized | 2016 Annual Site Energy Resource Intensity | Assessment Year = "2016" Interval Frequency = "Annual" Resource Boundary = "Site" Resource = "Energy" Resource Intensity = [value] Unit Of Measure = "kBtu/ft2" | kBtu/ft2
Input1Building | 2016SiteTotal | Number | kbtu/yr | LookupBuilding | 2016 Total use from PM non-normalized | 2016 Annual Site Energy Resource Value | Assessment Year = "2016" Interval Frequency = "Annual" Resource Boundary = "Site" Resource = "Energy" Resource Value = [value] Unit Of Measure = "kBtu" | kBtu
Input1Building | 2016Electric | Number | kwh | LookupBuilding | 2016 electric use (ElectricGridRenewNonNormQuantity) from PM non-normalized | 2016 Annual Site Electricity Resource Value | Assessment Year = "2016" Interval Frequency = "Annual" Resource Boundary = "Site" Resource = "Electricity" Resource Value = [value] Unit Of Measure = "kWh" | kWh | Are the following still "Site"? | Yes - all metrics are "site" except the one source EUI noted
Input1Building | 2016Gas | Number | therms | LookupBuilding | 2016 gas use from PM non-normalized | 2016 Annual Site Natural Gas Resource Value | Assessment Year = "2016" Interval Frequency = "Annual" Resource Boundary = "Site" Resource = "Natural gas" Resource Value = [value] Unit Of Measure = "Therm" | Therm
Input1Building | 2016Steam | Number | kbtu | LookupBuilding | 2016 steam use from PM non-normalized | 2016 Annual Site District Steam Resource Value | Assessment Year = "2016" Interval Frequency = "Annual" Resource Boundary = "Site" Resource = "District steam" Resource Value = [value] Unit Of Measure = "kBtu" | kBtu | Is this meant to be District Steam for heating or some industrial use of Steam? - | It is District Steam
Input1Building | 2016SourceEUI | Number | kbtu/sf/yr | LookupBuilding | 2016 Source EUI from PM non-normalized | 2016 Source EUI from PM non-normalized | Assessment Year = "2016" Interval Frequency = "Annual" Resource Boundary = "Source" Resource = "Energy" Resource Intensity = [value] Unit Of Measure = "kBtu/ft2" | kBtu/ft2
Input1Building | ScoreNumber | Number | - | LookupBuilding | 2016 Energy Star score from Portfolio Manager (ending Dec 2016). (If available) | ENERGY STAR 2016 Assessment Value | Assessment Program = "ENERGY STAR" Assessment Version = "2016" Assessment Value = [value] |  | PM? | Yes, it is Energy Star score. Description updated.
Input1Building | ProjkBtuSavings10 | Number | kBtu | LookupBuilding | Projected KBTU Savings 10% | Projected 10% Annual Site Energy Resource Savings | Quality = "Projected" Percent Improvement = 10 Interval Frequency = "Annual" Resource Boundary = "Site" Resource = "Energy" Resource Savings = [value] Unit Of Measure = "kBtu" | kBtu | 10% certainty? Projected Annual? Site or Source? | This is "projected" based on if 10%, 20% or 30% savings - we are just using it to project energy savings for now. Site energy savings
Input1Building | ProjkBtuSavings20 | Number | kBtu | LookupBuilding | Projected KBTU Savings 20% | Projected 20% Annual Site Energy Resource Savings | Quality = "Projected" Percent Improvement = 20 Interval Frequency = "Annual" Resource Boundary = "Site" Resource = "Energy" Resource Savings = [value] Unit Of Measure = "kBtu" |  | 20% certainty? Projected Annual? Site or Source? | This is "projected" based on if 10%, 20% or 30% savings - we are just using it to project energy savings for now. Site energy savings
Input1Building | ProjkBtuSavings35 | Number | kBtu | LookupBuilding | Projected KBTU Savings 35% | Projected 30% Annual Site Energy Resource Savings | Quality = "Projected" Percent Improvement = 30 Interval Frequency = "Annual" Resource Boundary = "Site" Resource = "Energy" Resource Savings = [value] Unit Of Measure = "kBtu" |  | 30% certainty? Projected Annual? Site or Source? | This is "projected" based on if 10%, 20% or 30% savings - we are just using it to project energy savings for now. Site energy savings
Input1Building | EPAIndirectGHG | Number | metric Ton | LookupBuilding | Electric emissions based on regional NWWP Grid | Indirect GHG Emissions Value | Emission Boundary = "Indirect" Emission Gas Type = "GHG" Emissions Value = [value] | MtCO2e
Input1Building | EPADirectGHG | Number | metric Ton | LookupBuilding | On-site gas or other fuels | Direct GHG Emissions Value | Emission Boundary = "Direct" Emission Gas Type = "GHG" Emissions Value = [value] | MtCO2e
Input1Building | EPATotalGHG | Number | metric Ton | LookupBuilding | Total of Indirect and Direct | Total GHG Emissions Value | Interval Measure = "Total" Emission Gas Type = "GHG" Emissions Value = [value] | MtCO2e
Input1Building | Seattle_ElectricGHG | Number | MetricTonsCO2e/yr | LookupBuilding | Calculated using the SCL GHG factor, which accounts for mostly carbon neutral electric. It uses the 2015 GHG factor of 52.44 lbs CO2e/MWh (retail power) reported by SCL to the Climate Registry. | Seattle Indirect GHG Emissions Value | City = "Seattle" Emission Boundary = "Indirect" Emission Gas Type = "GHG" Emissions Value = [value] | MtCO2e |  | BEDES mapping looks good. NB just udpated the description with more detail.
Input1Building | Seattle_TotalGHG | Number | MT CO2e/yr | LookupBuilding | This uses the SCL Indirect + other emissions (Direct) to derive the Total. | Seattle Total GHG Emissions Value | City = "Seattle" Interval Measure = "Total" Emission Gas Type = "GHG" Emissions Value = [value] | MtCO2e |  | Description updated, but BEDES term looks good.
Input1Building | Notes | Long Text | - | LookupBuilding | Notes field to describe anything relevant | Notes | Notes = [value]
Input1Building | Status | Short Text | Active/Cancelled | LookupBuilding | If the building is enrolled in TUA Accelerator - "Active", if the building has cancelled its enrollment - "Cancelled" | Account Status | Account Status = [value]

## ContactInfo
Table | Field Name | Data Type | Units | Source | Description | BEDES Term | BEDES Mapping | BEDES Units | BEDES Notes | Seattle comments
Input2Contact | TUA ID | Short Text |  | Reference TUA ID table/form |  | TUA Identifier | Custom Identifier Label = "TUA" Identifier = [value]
Building Owner's Contact Information
Input2Contact | BuildingOwnerFirstName | Short Text |  |  | Application (Excel file) enter manually
Input2Contact | BuildingOwnerLastName | Short Text |  | Application (Excel file) enter manually |  | Building Owner Full Name | Premises Level = "Building" Contact Label = "Owner" Full Name = [value]
Input2Contact | BuildingOwnerCompany | Short Text |  | Application (Excel file) enter manually |  | Building Owner Company Name | Premises Level = "Building" Contact Label = "Owner" Company Name = [value]
Input2Contact | BuildingOwnerAddress | Short Text |  | Application (Excel file) enter manually |  | Building Owner Address Line 1 | Premises Level = "Building" Contact Label = "Owner" Address Line 1 = [value]
Input2Contact | BuildingOwnerCity | Short Text |  | Application (Excel file) enter manually |  | Building Owner City | Premises Level = "Building" Contact Label = "Owner" City = [value]
Input2Contact | BuildingOwnerState | Short Text |  | Application (Excel file) enter manually |  | Building Owner State | Premises Level = "Building" Contact Label = "Owner" State = [value]
Input2Contact | BuildingOwnerZip | Number |  | Application (Excel file) enter manually |  | Building Owner ZIP Code | Premises Level = "Building" Contact Label = "Owner" ZIP Code = [value]
Input2Contact | BuildingOwnerEmail | Short Text |  | Application (Excel file) enter manually |  | Building Owner Email Address | Premises Level = "Building" Contact Label = "Owner" Email Address = [value]
Input2Contact | BuildingOwnerPhone | Short Text |  | Application (Excel file) enter manually |  | Building Owner Telephone Number | Premises Level = "Building" Contact Label = "Owner" Telephone Number = [value]
Manager's Contact Information
Input2Contact | ManagerRepFirstName | Short Text |  | Application (Excel file) enter manually
Input2Contact | ManagerRepLastName | Short Text |  | Application (Excel file) enter manually |  | Property Manager Full Name | Contact Label = "Property manager" Full Name = [value] |  | Is Property Manager correct? YES
Input2Contact | ManagerRepCompany | Short Text |  | Application (Excel file) enter manually |  | Property Manager Company Name | Contact Label = "Property manager" Company Name = [value]
Input2Contact | ManagerRepAddress | Short Text |  | Application (Excel file) enter manually |  | Property Manager Address Line 1 | Contact Label = "Property manager" Address Line 1 = [value]
Input2Contact | ManagerRepCity | Short Text |  | Application (Excel file) enter manually |  | Property Manager City | Contact Label = "Property manager" City = [value]
Input2Contact | ManagerRepState | Short Text |  | Application (Excel file) enter manually |  | Property Manager State | Contact Label = "Property manager" State = [value]
Input2Contact | ManagerRepZip | Number |  | Application (Excel file) enter manually |  | Property Manager ZIP Code | Contact Label = "Property manager" ZIP Code = [value]
Input2Contact | ManagerRepEmail | Short Text |  | Application (Excel file) enter manually |  | Property Manager Email Address | Contact Label = "Property manager" Email Address = [value]
Input2Contact | ManagerRepPhone | Short Text |  | Application (Excel file) enter manually |  | Property Manager Telephone Number | Contact Label = "Property manager" Telephone Number = [value]
Tune-up Specialist's Contact Information
Input2Contact | TUSpecFirstName | Short Text |  | LookupTUSpecialist
Input2Contact | TUSpecLastName | Short Text |  | LookupTUSpecialist |  | Implementer Full Name | Contact Label = "Implementer" Full Name = [value] |  | Implementer or Energy Consultant? | Energy Service provider hired by owner OR an in-house facility manager. Which term would you advise?
Input2Contact | TUSpecCompany | Short Text |  | LookupTUSpecialist |  | Implementer Company Name | Contact Label = "Implementer" Company Name = [value]
Input2Contact | TUSpecAddress | Short Text |  | LookupTUSpecialist |  | Implementer Address Line 1 | Contact Label = "Implementer" Address Line 1 = [value]
Input2Contact | TUSpecCity | Short Text |  | LookupTUSpecialist |  | Implementer City | Contact Label = "Implementer" City = [value]
Input2Contact | TUSpecState | Short Text |  | LookupTUSpecialist |  | Implementer State | Contact Label = "Implementer" State = [value]
Input2Contact | TUSpecZip | Number |  | LookupTUSpecialist |  | Implementer ZIP Code | Contact Label = "Implementer" ZIP Code = [value]
Input2Contact | TUSpecEmail | Short Text |  | LookupTUSpecialist |  | Implementer Email Address | Contact Label = "Implementer" Email Address = [value]
Input2Contact | TUSpecPhone | Short Text |  | LookupTUSpecialist |  | Implementer Telephone Number | Contact Label = "Implementer" Telephone Number = [value]
Input2Contact | TUSpecCertType | Long Text |  | LookupTUSpecialist |  |  |  |  | BEDES needs Certification for people as well as buildings | This would be a nice addition to BEDES
Input2Contact | TUSpecCertNum | Long Text |  | LookupTUSpecialist |  |  |  |  | BEDES needs Certification for people as well as buildings
Input2Contact | TUSpecCertDate | Short Text |  | LookupTUSpecialist |  |  |  |  | BEDES needs Certification for people as well as buildings
Input2Contact | Notes | Long Text |  | Manual entry |  | Notes | Notes = [value]

## DHW
Table | Field Name | Data Type | Units | Source | Description | BEDES Term | BEDES Mapping | BEDES Units | BEDES Notes | Seattle comments
Input3DHW | TUA ID | Short Text |  | Reference TUA ID table/form |  | TUA Identifier | Custom Identifier Label = "TUA" Identifier = [value]
Measure Code I1 | Review domestic hot water temperature set points |  |  |  |  | Measure Identifier | Action Category = "Measure" Identifier = [value] |  | BEDES does not have specific list of tune-up measures, so this would be an open text string field. Ideally, this would be an enumerated list.
Input3DHW | I1_TuneupFinding | Short Text | - | Application (Excel file) extract |  | Measure Observed Notes | Action Category = "Measure" Derivation Method = "Observed" Notes = [value] |  | BEDES might customize a better mapping
Input3DHW | I1_StatusTuneupCorrections | Short Text | - | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection |  |  |  | What are LookupStatusTuneupCorrection enumerations? | Lookup is basically another table in MS Access database to pull values - however the field is just the same - text string field
Input3DHW | I1_CorrectiveActionDescription | Short Text | - | Application (Excel file) extract |  | Measure Modification Description | Action Category = "Measure" Action Category = "Modification" Description = [value]
Input3DHW | I1_ExtenuatingCircumstancesDescription | Short Text | - | Application (Excel file) extract |  |  |  |  | BEDES does not really have good mappings for any of these tune-up properties. We should think about BEDES next version additions.
Measure Code I2 | Review circulation pump controls
Input3DHW | I2_TuneupFinding | Short Text | - | Application (Excel file) extract
Input3DHW | I2_StatusTuneupCorrections | Short Text | - | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input3DHW | I2_CorrectiveActionDescription | Short Text | - | Application (Excel file) extract
Input3DHW | I2_ExtenuatingCircumstancesDescription | Short Text | - | Application (Excel file) extract
Input3DHW | I2_EndCondition | Short Text | - | Application (Excel file) extract

## Envelope
Table | Field Name | Data Type | Units | Source | Description
Input4Envelope | TUA ID | Short Text |  | Reference TUA ID table/form
Measure Code K1 | Review domestic hot water temperature set points
Input4Envelope | K1_TuneupFinding | Short Text |  | Application (Excel file) extract
Input4Envelope | K1_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input4Envelope | K1_CorrectiveActionDescription | Short Text |  | Application (Excel file) extract
Input4Envelope | K1_ExtenuatingCircumstancesDescription | Short Text |  | Application (Excel file) extract
Measure Code K2 | Review circulation pump controls
Input4Envelope | K2_TuneupFinding | Short Text |  | Application (Excel file) extract
Input4Envelope | K2_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input4Envelope | K2_CorrectiveActionDescription | Short Text |  | Application (Excel file) extract
Input4Envelope | K2_ExtenuatingCircumstancesDescription | Short Text |  | Application (Excel file) extract
Measure Code K3 | Identify any uninsulated attic areas
Input4Envelope | K3_TuneupFinding | Short Text |  | Application (Excel file) extract
Input4Envelope | K3_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input4Envelope | K3_CorrectiveActionDescription | Short Text |  | Application (Excel file) extract
Input4Envelope | K3_ExtenuatingCircumstancesDescription | Short Text |  | Application (Excel file) extract
Input4Envelope | K3_EndCondition | Short Text |  | Application (Excel file) extract

## HVAC_1
Table | Field Name | Data Type | Units | Source | Description
Input5HVAC_1 | TUA ID | Short Text |  | Reference TUA ID table/form
Measure Code G1 | Review HVAC equipment schedules
Input5HVAC_1 | G1_TuneupFinding | Short Text |  | Application (Excel file) extract
Input5HVAC_1 | G1_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input5HVAC_1 | G1_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G1_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G1_EndCondition | Long Text |  | Application (Excel file) extract
Measure Code G2 | Review HVAC setpoints
Input5HVAC_1 | G2_TuneupFinding | Short Text |  | Application (Excel file) extract
Input5HVAC_1 | G2_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input5HVAC_1 | G2_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G2_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G2_EndCondition | Long Text |  | Application (Excel file) extract
Measure Code G3 | Review reset schedules
Input5HVAC_1 | G3_TuneupFinding | Short Text |  | Application (Excel file) extract
Input5HVAC_1 | G3_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input5HVAC_1 | G3_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G3_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G3_EndCondition | Long Text |  | Application (Excel file) extract
Measure Code G4 | Review stop/start capabilities
Input5HVAC_1 | G4_TuneupFinding | Short Text |  | Application (Excel file) extract
Input5HVAC_1 | G4_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input5HVAC_1 | G4_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G4_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G4_EndCondition | Long Text |  | Application (Excel file) extract
Measure Code G5 | Verify functioning HVAC sensors
Input5HVAC_1 | G5_TuneupFinding | Short Text |  | Application (Excel file) extract
Input5HVAC_1 | G5_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input5HVAC_1 | G5_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G5_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code G6 | Verify functioning HVAC controls
Input5HVAC_1 | G6_TuneupFinding | Short Text |  | Application (Excel file) extract
Input5HVAC_1 | G6_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input5HVAC_1 | G6_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G6_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code G7 | Review controls for simultaneous heating/cooling
Input5HVAC_1 | G7_TuneupFinding | Short Text |  | Application (Excel file) extract
Input5HVAC_1 | G7_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input5HVAC_1 | G7_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G7_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G7_EndCondition | Long Text |  | Application (Excel file) extract
Measure Code G8 | Note indications of air balancing Issues
Input5HVAC_1 | G8_TuneupFinding | Short Text |  | Application (Excel file) extract
Input5HVAC_1 | G8_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input5HVAC_1 | G8_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G8_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code G9 | Identify if ventilation rates vary significantly from ASHRAE 62.1
Input5HVAC_1 | G9_TuneupFinding | Short Text |  | Application (Excel file) extract
Input5HVAC_1 | G9_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input5HVAC_1 | G9_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G9_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code G10 | Identify zones that dominate multi-zone systems
Input5HVAC_1 | G10_TuneupFinding | Short Text |  | Application (Excel file) extract
Input5HVAC_1 | G10_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input5HVAC_1 | G10_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input5HVAC_1 | G10_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract

## HVAC_2
Table | Field Name | Data Type | Units | Source | Description
Input6HVAC_2 | TUA ID | Short Text |  | Reference TUA ID table/form
Measure Code G11 | Verify HVAC equipment is clean and maintained
Input6HVAC_2 | G11_TuneupFinding | Short Text |  | Application (Excel file) extract
Input6HVAC_2 | G11_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input6HVAC_2 | G11_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input6HVAC_2 | G11_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code G12 | Clean or replace filters/strainers
Input6HVAC_2 | G12_TuneupFinding | Short Text |  | Application (Excel file) extract
Input6HVAC_2 | G12_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input6HVAC_2 | G12_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input6HVAC_2 | G12_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code G13 | Recommend filter/strainer maintenance per Standard 180-2012
Input6HVAC_2 | G13_TuneupFinding | Short Text |  | Application (Excel file) extract
Input6HVAC_2 | G13_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input6HVAC_2 | G13_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input6HVAC_2 | G13_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code G14 | Repair HVAC equipment if standard maintenance action
Input6HVAC_2 | G14_TuneupFinding | Short Text |  | Application (Excel file) extract
Input6HVAC_2 | G14_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input6HVAC_2 | G14_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input6HVAC_2 | G14_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code G15 | Recommend repair/replace if scope more than standard maintenance
Input6HVAC_2 | G15_TuneupFinding | Short Text |  | Application (Excel file) extract
Input6HVAC_2 | G15_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input6HVAC_2 | G15_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input6HVAC_2 | G15_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code G16 | Verify duct and pipe insulationinstalled
Input6HVAC_2 | G16_TuneupFinding | Short Text |  | Application (Excel file) extract
Input6HVAC_2 | G16_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input6HVAC_2 | G16_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input6HVAC_2 | G16_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code G17 | Check valves and dampers
Input6HVAC_2 | G17_TuneupFinding | Short Text |  | Application (Excel file) extract
Input6HVAC_2 | G17_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input6HVAC_2 | G17_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input6HVAC_2 | G17_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code G18 | Identify equipment nearing end-of-life
Input6HVAC_2 | G18_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract
Input6HVAC_2 | G18_CorrectiveActionDescription | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input6HVAC_2 | G18_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Input6HVAC_2 | G18_TuneupFinding | Long Text |  | Application (Excel file) extract

## Lighting
Table | Field Name | Data Type | Units | Source | Description
Input7Lighting | TUA ID | Short Text |  | Reference TUA ID table/form
Measure Code H1 | Identify areas with high lighting levels
Input7Lighting | H1_TuneupFinding | Short Text |  | Application (Excel file) extract
Input7Lighting | H1_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input7Lighting | H1_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input7Lighting | H1_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code H2 | Verify lighting sensors working
Input7Lighting | H2_TuneupFinding | Short Text |  | Application (Excel file) extract
Input7Lighting | H2_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input7Lighting | H2_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input7Lighting | H2_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Input7Lighting | H2_EndCondition | Long Text |  | Application (Excel file) extract
Measure Code H3 | Review lighting controls and schedules
Input7Lighting | H3_TuneupFinding | Short Text |  | Application (Excel file) extract
Input7Lighting | H3_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input7Lighting | H3_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input7Lighting | H3_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Input7Lighting | H3_EndCondition | Long Text |  | Application (Excel file) extract
Measure Code H4 | Identify inefficient lighting equipment
Input7Lighting | H4_TuneupFinding | Short Text |  | Application (Excel file) extract
Input7Lighting | H4_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input7Lighting | H4_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input7Lighting | H4_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract

## Water
Table | Field Name | Data Type | Units | Source | Description
Input8Water | TUA ID | Short Text |  | Reference TUA ID table/form
Measure Code J1 | Verify cooling tower conductivity meter for blow down calibrated
Input8Water | J1_TuneupFinding | Short Text |  | Application (Excel file) extract
Input8Water | J1_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input8Water | J1_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input8Water | J1_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Input8Water | J1_EndCondition | Long Text |  | Application (Excel file) extract
Measure Code J2 | Repair cooling tower conductivity meter
Input8Water | J2_TuneupFinding | Short Text |  | Application (Excel file) extract
Input8Water | J2_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input8Water | J2_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input8Water | J2_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code J3 | Evaluate cooling towers for water leaks and excess water consumption
Input8Water | J3_TuneupFinding | Short Text |  | Application (Excel file) extract
Input8Water | J3_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input8Water | J3_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input8Water | J3_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code J4 | Verify irrigation schedules
Input8Water | J4_TuneupFinding | Short Text |  | Application (Excel file) extract
Input8Water | J4_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input8Water | J4_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input8Water | J4_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code J5 | Verify rain sensor calibration, function and location
Input8Water | J5_TuneupFinding | Short Text |  | Application (Excel file) extract
Input8Water | J5_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input8Water | J5_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input8Water | J5_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code J6 | Review water feature schedules
Input8Water | J6_TuneupFinding | Short Text |  | Application (Excel file) extract
Input8Water | J6_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input8Water | J6_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input8Water | J6_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code J7 | Check irrigation for leaks and other problems and repair if low-cost
Input8Water | J7_TuneupFinding | Short Text |  | Application (Excel file) extract
Input8Water | J7_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input8Water | J7_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input8Water | J7_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code J8 | Recommend repair if scope beyond standard maintenance
Input8Water | J8_TuneupFinding | Short Text |  | Application (Excel file) extract
Input8Water | J8_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input8Water | J8_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input8Water | J8_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code J9 | Check plumbing fixtures and repair if standard maintenance
Input8Water | J9_TuneupFinding | Short Text |  | Application (Excel file) extract
Input8Water | J9_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input8Water | J9_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input8Water | J9_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code J10 | Recommend plumbing repairs if scope beyond standard maintenance
Input8Water | J10_TuneupFinding | Short Text |  | Application (Excel file) extract
Input8Water | J10_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input8Water | J10_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input8Water | J10_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code J11 | Check operation of hands-free plumbing fixture sensors
Input8Water | J11_TuneupFinding | Short Text |  | Application (Excel file) extract
Input8Water | J11_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input8Water | J11_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input8Water | J11_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Measure Code J12 | Check water flow fixtures
Input8Water | J12_TuneupFinding | Short Text |  | Application (Excel file) extract
Input8Water | J12_StatusTuneupCorrections | Short Text |  | Application (Excel file) extract | Data type is Number because it is a lookup field connected to LookupStatusTuneupCorrection
Input8Water | J12_CorrectiveActionDescription | Long Text |  | Application (Excel file) extract
Input8Water | J12_ExtentuatingCircumstancesDescription | Long Text |  | Application (Excel file) extract
Input8Water | J12_EndCondition | Long Text |  | Application (Excel file) extract

## EnergySavings
Table | Field Name | Data Type | Units | Source | Description | BEDES Term | BEDES Mapping | BEDES Units | BEDES Notes | Seattle comments
InputEnergySavings | TUA ID | Short text |  | Reference TUA ID table/form |  | TUA Identifier | Custom Identifier Label = "TUA" Identifier = [value]
City Light Estimated Electric Savings
InputEnergySavings | SCLTUAEstEnergySavingsPercent | Number | Percent | SCL Project Application: Incentive Calculator Tab, Cell G56 | Annual percent savings that SCL estimates from the Basic tune-up. This is calculated from a table Ted created that uses PNNL's research and matches to OSE building type and EUI quartile. (Highest Use=Inefficient; Medium High & Medium Low = Typical; Lowest Use=Efficient). | Estimated Annual Tune Up Energy Percent Improvement | Derivation Method = "Estimated" Interval Frequency = "Annual" Action Category = "Tune up" Resource = "Energy" Percent Improvement = [value]
InputEnergySavings | SCLTUAEstElecSavingsKWH | Number | KWH | SCL Project Application: Incentive Calculator Tab, Cell H56 | Annual KWH savings (based on building's prior 12 month's electric use) that SCL estimates from the Basic tune-up; based on SCL and PNNLwork and matched to OSE building type and EUI quartile (see Desr. Above) | Estimated Annual Tune Up Electricity Resource Savings | Derivation Method = "Estimated" Interval Frequency = "Annual" Action Category = "Tune up" Resource = "Electricity" Resource Savings = [value] Unit Of Measure = "kWh" | kWh
InputEnergySavings | SCLEstECMSavingsKWH | Number | KWH | SCL | Annual estimated kWH savings from all ECMs that BO has enrolled in during TUA program, from SCL | Estimated Annual Total Measure Electricity Resource Savings | Derivation Method = "Estimated" Interval Frequency = "Annual" Interval Frequency = "Total" Action Category = "Measure" Resource = "Electricity" Resource Savings = [value] Unit Of Measure = "kWh" | kWh
InputEnergySavings | SCLEstTotalSavingsKWH | Number | KWH | Formula: Sum of C5+C6 (SCLTUAEstElecSavingsKWH + SCLEstECMSavingsKWH = SCLEstTotalSavingsKWH) | Total KWH savings from tune-up O&M + ECMS. | Estimated Total Electricity Resource Savings | Derivation Method = "Estimated" Interval Frequency = "Total" Resource = "Electricity" Resource Savings = [value] Unit Of Measure = "kWh" | kWh |  | Updated description, but BEDES term looks good.
InputEnergySavings | SCLEstSavingsAmount | Currency | USD | Formula: C7 * .08 | Annual owner cost savings based on SCL medium rate, which is .08 | Estimated Annual Energy Cost Savings | Derivation Method = "Estimated" Interval Frequency = "Annual" Resource = "Energy" Cost Savings = [value] | $
| HVACHoursPre | Number | Hours | SCL worksheet | HVAC operating hours pre-tuneup documented by service providers | Pre Retrofit HVAC Equipment Operating Average Daily Hours | Temporal Status = "Pre retrofit" Schedule Category = "HVAC equipment" Schedule Category = "Operating" Average Daily Hours = [value] | hours | Total hours? Hours/day?
| HVACHoursPost | Number | Hours | SCL worksheet | HVAC operating hours post-tuneup documented by service providers | Post Retrofit HVAC Equipment Operating Average Daily Hours | Temporal Status = "Post retrofit" Schedule Category = "HVAC equipment" Schedule Category = "Operating" Average Daily Hours = [value] | hours | Total hours? Hours/day?
| HVACHoursPercentChange | Number | Percent | SCL worksheet | Percent change pre to post. | NO MAPPING
| LightingHoursPre | Number | Hours | SCL worksheet | Lighting operating hours pre-tuneup documented by service providers | Pre Retrofit Lighting Operating Average Daily Hours | Temporal Status = "Pre retrofit" Schedule Category = "Lighting" Schedule Category = "Operating" Average Daily Hours = [value] | hours | Total hours? Hours/day?
| LightingHoursPost | Number | Hours | SCL worksheet | Lighting operating hours post-tuneup documented by service providers | Post Retrofit Lighting Operating Average Daily Hours | Temporal Status = "Post retrofit" Schedule Category = "Lighting" Schedule Category = "Operating" Average Daily Hours = [value] | hours | Total hours? Hours/day?
| LightingHoursPercentChange | Number | Percent | SCL worksheet | Percent change pre to post. | NO MAPPING
PSE Estimated Gas Savings
InputEnergySavings | PSEEstCBTUTherms | Number | Therms | PSE or building owner | Projected therms savings from CBTU, if available from PSE | Projected Annual Tune Up Natural Gas Resource Savings | Quality = "Projected" Interval Frequency = "Annual" Action Category = "Tune up" Resource = "Natural gas" Resource Savings = [value] Unit Of Measure = "Therm" | Therm | Is this still Annual? | I think so - I will need to check in with PSE
InputEnergySavings | PSEEstECMTherms | Number | Therms | PSE or building owner | Projected Therms from any ECMs that BO has enrolled in during TUA program, if available from PSE | Projected Annual Total Measure Natural Gas Resource Savings | Quality = "Projected" Interval Frequency = "Annual" Interval Frequency = "Total" Action Category = "Measure" Resource = "Natural gas" Resource Savings = [value] Unit Of Measure = "Therm" | Therm | Is this still Annual? | I think so - I will need to check in with PSE
Building Renewal Estimated Savings
InputEnergySavings | RenewalEstEnergySavings(kBtu) | Number | kBtu | UWIDL | Projected annual total savings from BR analysis. |  |  |  | Are these still Annual? | yes
InputEnergySavings | RenewalEstGas(Therms) |  | Therms | UWIDL | Projected annual gas savings from BR analysis. |  |  |  | Savings or consumption? | savings
InputEnergySavings | RenewalEstElectric(KWH) |  | KWH | UWIDL | Projected annual kwh savings from BR analysis. |  |  |  | Savings or consumption? | savings
| AssetScoreCurrent | Number |  | DOE | The building's Asset Score, based on AS created by service provider.
| AssetScorePotential | Number |  | DOE | The building's Potential Asset Score
| RenewalNotes | Long Text |  | UWIDL | UWIDL's notes on how savings estimates were derived for each project.
Post Project Energy Use
InputEnergySavings | PostMonthYearUsed | Date/Time |  | OSE EBR or PM | Month and Year used for final savings. Example: June2019 | Post Retrofit End Date | Temporal Status = "Post retrofit" Date Status = "End" Date = [value] Date Format = "MonthYear" | MonthYear
InputEnergySavings | PostSiteEUI | Number | kbtu/sf/yr | OSE EBR or PM |  | Post Retrofit Annual Site Energy Resource Intensity | Temporal Status = "Post retrofit" Interval Frequency = "Annual" Resource Boundary = "Site" Resource = "Energy" Resource Intensity = [value] Unit Of Measure = "kBtu/ft2" | kBtu/ft2 | Are these still Annual? | Yes, it would still be the EUI based on last 12 months
InputEnergySavings | PostSiteTotal | Number | kbtu | OSE EBR or PM |  | Post Retrofit Annual Site Energy Resource Value | Temporal Status = "Post retrofit" Interval Frequency = "Annual" Resource Boundary = "Site" Resource = "Energy" Resource Value = [value] Unit Of Measure = "kBtu" | kBtu |  | Yes, it would still be the total kbtu based on last 12 months
InputEnergySavings | PostElectric | Number | kwh | OSE EBR or PM |  | Post Retrofit Annual Site Electricity Resource Value | Temporal Status = "Post retrofit" Interval Frequency = "Annual" Resource Boundary = "Site" Resource = "Electricity" Resource Value = [value] Unit Of Measure = "kWh" | kWh |  | "
InputEnergySavings | PostGas | Number | therms | OSE EBR or PM |  | Post Retrofit Annual Site Natural Gas Resource Value | Temporal Status = "Post retrofit" Interval Frequency = "Annual" Resource Boundary = "Site" Resource = "Natural gas" Resource Value = [value] Unit Of Measure = "kBtu" | Therm |  | "
InputEnergySavings | PostSteam | Number | kbtu | OSE EBR or PM |  | Post Retrofit Annual Site Steam Resource Value | Temporal Status = "Post retrofit" Interval Frequency = "Annual" Resource Boundary = "Site" Resource = "Steam" Resource Value = [value] Unit Of Measure = "kBtu" | kBtu |  | "
InputEnergySavings | PostSourceEUI | Number | kbtu/sf/yr | OSE EBR or PM |  | Post Retrofit Annual Source Energy Resource Intensity | Temporal Status = "Post retrofit" Interval Frequency = "Annual" Resource Boundary = "Source" Resource = "Energy" Resource Intensity = [value] Unit Of Measure = "kBtu/ft2" | kBtu/ft2 |  | "
InputEnergySavings | PostScoreNumber | Number |  | OSE EBR or PM | Energy Star score from Portfolio Manager (ending xx 20xx). (Will use same year as other metrics.) | ENERGY STAR [Assessment Version] Assessment Value | Assessment Program = "ENERGY STAR" Assessment Version = [value] Assessment Value = [value] |  | PM? | Yes - description updated
InputEnergySavings | PostEPADirectGHG | Number | MT CO2e/yr | OSE EBR or PM |  | Post Retrofit Direct GHG Emissions Value | Temporal Status = "Post retrofit" Emission Boundary = "Direct" Emission Gas Type = "GHG" Emissions Value = [value] | MtCO2e
InputEnergySavings | PostIndirectEPAGHG | Number | MT CO2e/yr | OSE EBR or PM |  | Post Retrofit Indirect GHG Emissions Value | Temporal Status = "Post retrofit" Emission Boundary = "Indirect" Emission Gas Type = "GHG" Emissions Value = [value] | MtCO2e
InputEnergySavings | PostEPATotalGHG | Number | MT CO2e/yr | OSE EBR or PM |  | Post Retrofit Total GHG Emissions Value | Temporal Status = "Post retrofit" Interval Measure = "Total" Emission Gas Type = "GHG" Emissions Value = [value] | MtCO2e
InputEnergySavings | PostSeattle_ElectricGHG | Number | MT CO2e/yr | OSE EBR or PM |  | Post Retrofit Seattle Indirect GHG Emissions Value | Temporal Status = "Post retrofit" City = "Seattle" Emission Boundary = "Indirect" Emission Gas Type = "GHG" Emissions Value = [value] | MtCO2e
InputEnergySavings | PostSeattle_TotalGHG | Number | MT CO2e/yr | OSE EBR or PM |  | Post Retrofit Seattle Total GHG Emissions Value | Temporal Status = "Post retrofit" City = "Seattle" Interval Measure = "Total" Emission Gas Type = "GHG" Emissions Value = [value] | MtCO2e
InputEnergySavings | Notes | Long Text |  |  | Notes field | Notes | Notes = [value]

## ProjectTracking
Table | Field Name | Data Type | Units | Source | Description | BEDES Term | BEDES Mapping | BEDES Units | BEDES Notes | Seattle comments
InputProjectTracking | TUA ID | Short Text |  | Reference TUA ID table/form |  | TUA Identifier | Custom Identifier Label = "TUA" Identifier = [value]
Basic Tune-Up Tracking
InputProjectTracking | TUAApplicationDate | Date/Time |  | OSE enters. Provided by OSE | Date that OSE approves application & forwards to City Light (all projects) | TUA Submitted Date | Custom Identifier Label = "TUA" Date Status = "Submitted" Date = [value]
InputProjectTracking | TUAPath | Short Text |  | OSE enters from drop down list after Application Received. OSE | Defines that path the project is on. Drop down list that defaults to Basic Tune-Up. Staff can change to Tune-Up Plus, Building Renewal, as the project progresses (all projects) |  |  |  | What are the enumerations? That is, what are the possible options on the Drop Down list that defaults to Basic Tune-Up? | ?
InputProjectTracking | TUAAgreementDate | Date/Time |  | Staff enters. Provided by SCL | Date that SCL and Owner finalize incentive Aggreement for Basic Tune-up (this should include SOW). | TUA Approved Date | Custom Identifier Label = "TUA" Date Status = "Approved" Date = [value] |  | Implementation Status = "Selected"?
InputProjectTracking | SCLBasicTUProjectID | Short Text |  | Staff enters. Provided by SCL | Tracking ID used by SCL for TUA Project. Obtain from the SCL Contracts staff. (Also, go to EnergySavings Table and add SCLEstimatedElecSavingsKWH.) | SCL Identifier | Custom Identifier Label = "SCL" Identifier = [value]
InputProjectTracking | TUAAssessDate | Date/Time |  | Staff enters. Provided by SCL | Date that Building Assessment is complete. (Based on when SCL is sent request for Assessment Payment). | TUA Evaluated Date | Custom Identifier Label = "TUA" Implementation Status = "Evaluated" Date = [value]
InputProjectTracking | TUAAssessIncentivePaidDate | Date/Time |  | Staff enters. Provided by SCL | Date SCL paid BO Assessment incentive to owner | TUA Evaluated Incentive Paid Date | Custom Identifier Label = "TUA" Implementation Status = "Evaluated" Funding Source = "Incentive" Date Status = "Paid" Date = [value]
InputProjectTracking | TUAAssessIncentivePaidAmount | Currency | USD | Staff enters. Provided by SCL | Amount of incentive SCL paid BO towards Assessment | TUA Evaluated Incentive Paid Funding Amount | Custom Identifier Label = "TUA" Implementation Status = "Evaluated" Funding Source = "Incentive" Date Status = "Paid" Funding Amount = [value]
InputProjectTracking | SCLEMAName | Short Text |  | Staff enters. Provided by SCL | SCL Energy Management Analyst name | SCL Evaluator Contact Name | Custom Identifier Label = "SCL" Contact Label = "Evaluator" Contact Name = [value]
InputProjectTracking | AssetScoreDate | Date/Time |  | Staff enters. Provided by OSE | Date OSE Asset Score for building is complete. (all projects) | Commercial Building Energy Asset Score Date | Assessment Program = "Commercial Building Energy Asset Score" Date == [value]
InputProjectTracking | SCLVEASent | Date/Time |  | Staff enters. Provided by SCL | Date SCL send Virtual Audit Incentive to Owner (if applicable). | SCL Audit Incentive Paid Date | Custom Identifier Label = "SCL" Action Category = "Audit" Funding Source = "Incentive" Date Status = "Paid" Date = [value] |  | There is no additional data field for entering the estimated energy savings if known. | Good catch - we ended up not tracking this. Description updated.
InputProjectTracking | TUASummaryReceived | Date/Time |  | Staff enters. Provided by OSE | Date OSE receives the final TUA Summary Report | NO MAPPING |  |  | BEDES does not have Summary term. Consider adding to future version.
InputProjectTracking | TUASummaryApproved | Date/Time |  | Staff enters. Provided by OSE | Date OSE approves the final TUA Summary Report (& sends to SCL for incentive payment). OSE Considers tune-up complete. | NO MAPPING |  |  | BEDES does not have Summary term. Consider adding to future version.
InputProjectTracking | TUAFinalIncentivePaidDate | Date/Time |  | Staff enters. Provided by SCL | Date SCL paid BO Final Incentive | TUA Completed Incentive Paid Date | Custom Identifier Label = "TUA" Implementation Status = "Completed" Funding Source = "Incentive" Date Status = "Paid" Date = [value]
InputProjectTracking | TUAFinalIncentiveAmount | Currency | USD | Staff enters. Provided by SCL | Amount SCL paid BO towards Final Incentive | TUA Completed Incentive Paid Funding Amount | Custom Identifier Label = "TUA" Implementation Status = "Completed" Funding Source = "Incentive" Date Status = "Paid" Funding Amount = [value]
City Light ECM Project Tracking
InputProjectTracking | SCLCapitalAgreementDate | Date/Time |  | Staff enters. Provided by SCL | Date Capital Project Agreement signed with SCL (if applicable) | SCL Approved Date | Custom Identifier Label = "SCL" Date Status = "Approved" Date = [value]
InputProjectTracking | SCLCapitalProjectID | Short Text |  | Staff enters. Provided by SCL | Tracking ID used by SCL for ECM incentive projects. Obtain from the SCL Contracts staff | SCL Project Identifier | Custom Identifier Label = "SCL" Action Category = "Project" Identifier = [value]
InputProjectTracking | SCLCapitalProjectDescription | Short Text |  | Staff enters. Provided by SCL | Description of the SCL ECMs such as:"LEDS, rooftop controllers, etc." (if applicable). Also Enter estimated energy savings on that tab, if known. | SCL Project Description | Custom Identifier Label = "SCL" Action Category = "Project" Description = [value]
InputProjectTracking | SCLCapitaIncentivePaidDate | Date/Time |  | Staff enters. Provided by SCL | Date SCL paid BO the ECM Incentive(s) | SCL Incentive Paid Date | Custom Identifier Label = "SCL" Funding Source = "Incentive" Date Status = "Paid" Date = [value]
InputProjectTracking | SCLCapitaIncentivePaidAmount | Currency | USD | Staff enters. Provided by SCL | Amount SCL paid BO towards ECM Incentive(s) | SCL Incentive Paid Funding Amount | Custom Identifier Label = "SCL" Funding Source = "Incentive" Date Status = "Paid" Funding Amount = [value]
PSE ECM Project Tracking
InputProjectTracking | PSECapitalAgreementDate | Date/Time |  | Staff enters. Provided by PSE | Date Capital Project Agreement signed with PSE (if applicable and known) | PSE Approved Date | Custom Identifier Label = "PSE" Date Status = "Approved" Date = [value]
InputProjectTracking | PSECapitalProjectDescription | Short Text |  | Staff enters. Provided by PSE | Description of the PSE ECMs such as:"LEDS, rooftop controllers, etc." (if applicable). Also Enter estimated energy savings on that tab, if known. | PSE Project Description | Custom Identifier Label = "PSE" Action Category = "Project" Description = [value]
InputProjectTracking | PSECapitaIncentivePaidAmount | Currency | USD | Staff enters. Provided by PSE | If we can we get from PSE? | PSE Incentive Paid Funding Amount | Custom Identifier Label = "PSE" Funding Source = "Incentive" Date Status = "Paid" Funding Amount = [value]
InputProjectTracking | PSECBTUAgreementDate | Date/Time |  | Staff enters. Provided by PSE | Date building approved from PSE CBTU program (this is after the "pre-screen"). Only trying to track projects that do full CBTU program. (if applicable). Also Enter estimated energy savings on that tab, if known. | PSE CBTU Approved Date | Custom Identifier Label = "PSE CBTU" Date Status = "Approved" Date = [value]
InputProjectTracking | PSECBTUIncentivePaidAmount | Currency | USD | Staff enters. Provided by PSE | If we can get from PSE or the building owner. | PSE CBTU Incentive Paid Funding Amount | Custom Identifier Label = "PSE CBTU" Funding Source = "Incentive" Date Status = "Paid" Funding Amount = [value]
Building Renewal Project Tracking
InputProjectTracking | BuildingRenewalDate | Date/Time |  | Staff enters. Provided by UWIDL | Date UWIDL takes on a building renewal project (if applicable) | Building Renewal Date | Premises Level = "Building" Custom Date Status = "Renewal" Date = [value]
| BuildingRenewalLevel | Short Text |  |  | Project will be noted as either Level 2, Level 2 or Level 3 (each is a specific package of analysis support), |  |  |  |  | We will be adding this field to database in Q3
InputProjectTracking | BuildingRenewalDescription | Short Text |  | Staff enters. Provided by UWIDL | Description of the Building Renewal Project such as:"Spark Analysis, modeling for HVAC retrofit etc." (if applicable). Also Enter estimated energy savings on that tab, if known. | Building Renewal Description | Premises Level = "Building" Custom Date Status = "Renewal" Description = [value]
M and V Tracking
InputProjectTracking | BuildingInM&V? | Yes/No |  | Staff enters. Provided by UWIDL | Is building monitored and verfied? | Building MV Implementation Status | Premises Level = "Building" Action Category = "MV" Implementation Status = [value] |  | BEDES does not have boolean terms
InputProjectTracking | FindingsSummary | Long Text |  | Staff enters. Provided by UWIDL | Summary of the findings | Measure Observed Notes | Action Category = "Measure" Derivation Method = "Observed" Notes = [value]
InputProjectTracking | Notes | Long Text |  | Optional | Free entry notes field. | Notes | Notes = [value]