## Introduction
Building Energy Data Exchange Specification (BEDES) Compliant Mapping
Date | 2018-01-12
Implementation | Tracksys
Implementation Version | 2017-11-22
BEDES Version | V2.1
For more information about BEDES, please visit | https://bedes.lbl.gov/bedes-online

## Field Properties Sheet
Label | Data Return Type | Type-specific Details | BEDES Term | BEDES Mapping | BEDES Units | BEDES Notes | eO Notes
AFUE | PERCENT | Precision: 17.1 | AFUE Efficiency Value | Efficiency Metric Qualifier = "AFUE" Efficiency Value = [value]
AFUE Boiler | DOUBLE | Precision: 1.4 |  |  |  | How is this different from AFUE above? | Because of the way the measures needed to be implemented on DAP, two different fields were used. They mean the same thing - just one field is used with Boiler measures in DAP.
Annual Hours of Operation | DOUBLE | Precision: 18.0 | Annual Operating Interval Duration | Interval Frequency = "Annual" Schedule Category = "Operating" Interval Duration = [value] Unit Of Measure = "hour" | hour
Annual Hours of Operation VFD | DOUBLE | Precision: 16.2 | Variable Frequency Drive Annual Operating Interval Duration | Motor Characteristic = "Variable frequency drive" Interval Frequency = "Annual" Schedule Category = "Operating" Interval Duration = [value] Unit Of Measure = "hour" | hour
Base COP | DOUBLE | Precision: 17.1 | Pre Retrofit COP Efficiency Value | Temporal Status = "Pre retrofit" Efficiency Metric Qualifier = "COP" Efficiency Value = [value]
Base EER | DOUBLE | Precision: 17.1 | Pre Retrofit EER Efficiency Value | Temporal Status = "Pre retrofit" Efficiency Metric Qualifier = "EER" Efficiency Value = [value]
Base SEER | DOUBLE | Precision: 17.1 | Pre Retrofit SEER Efficiency Value | Temporal Status = "Pre retrofit" Efficiency Metric Qualifier = "SEER" Efficiency Value = [value]
Baseline Motor Efficiency | DOUBLE | Precision: 1.4 | Motor Efficiency Value | Technology Component = "Motor" Efficiency Qualifier = "Efficiency" Efficiency Value = [value]
CFM | DOUBLE | Precision: 16.2 | Return Air Flow Rate Setpoint | Setpoint Type = "Return air flow rate" Setpoint = [value] Unit Of Measure = "ft3/min" | ft3/min
Chiller Installation Type | PICKLIST | Possible Values: New Construction Equipment Replacement Primary Chiller Replacement | Chiller Plant Improvements Action Category | Technology Category = "Chiller plant improvements" Action Category = [value]
Compressor Type | PICKLIST | Possible Values: Variable Displacement, VSD | Chiller Compressor Type | Chiller Compressor Type = [value] |  | Will require custom values Could also include Compressor Staging for Variable qualifier | from NH - Air Compressor measure
Condenser Type | PICKLIST | Possible Values: Air Cooled, Water Cooled, Other | Condenser Type | Condenser Type = [value]
Control AC? | PICKLIST | Possible Values: Yes, No |  |  |  | What does this mean? | addt attribute for the thermostat measure
Control kWh per Unit | DOUBLE | Precision: 10.8 | Building Automation System All HVAC Electricity Resource Savings | Control Technology = "Building automation system" HVAC Systems Controlled = "All HVAC" Resource = "Electricity" Resource Savings = [value] Unit of Measure = "kWh" | kWh | What does this mean? | kWh savings from HVAC controls (returned from lookup)
Cooling Capacity in Tons | DOUBLE | Precision: 17.1 | Chiller Capacity | Cooling Type = "Chiller" Capacity = [value] Unit of Measure = "Cooling ton" | Cooling ton | Alternatively HVAC Category = "Cooling" | Noted
COP | DOUBLE | Precision: 17.1 | Rated Power COP Efficiency Value | Consumption Rate Type = "Rated power" Efficiency Metric Qualifier = "COP" Efficiency Value = [value] |  | Cooling Type = "Chiller" as an additional qualifier? | Most likely not.
Date Installed | DATE |  | Installed Date | Date Status = "Installed" Date = [value] | Date | Additional qualifier to indicate what was installed? | No, as this field could be across various measures.
DLC Standard or Premium | PICKLIST | Possible Values: DLC Standard DLC Premium |  |  |  | DLC? | DesignLights Consortium (DLC) is similar to the Energy Star program - this field tracks the category of designation
Duty Cycle Factor | DOUBLE | Precision: 1.3 | Duty Cycle | Duty Cycle = [value] | Percent | Is this correct mapping? Additional qualifier needed? | returned value from NH - VFD (in double format)
EER | DOUBLE | Precision: 17.1 | Rated Power EER Efficiency Value | Consumption Rate Type = "Rated power" Efficiency Metric Qualifier = "EER" Efficiency Value = [value] |  | Cooling Type = "Chiller" as an additional qualifier? | from NH - Split/Packaged HVAC
EFLH Cooling | DOUBLE | Precision: 18.0 |  |  |  | BEDES does not currently have Equivalent Full Load Hour | Noted
EFLH Heating | DOUBLE | Precision: 18.0 |  |  |  | BEDES does not currently have Equivalent Full Load Hour | Noted
Energy Savings Control | PICKLIST | Possible Values: Dual Enthalpy Economizer, Demand Control Ventilation, None | Air Side Economizer Type | Air Side Economizer Type = [value]
Equipment Capacity in BTUH | DOUBLE | Precision: 18.0 | Capacity | Capacity = [value] Unit Of Measure = "Btu/hr" | Btu/hr | Need additional qualifier to indicate equipment type? | No, as this field could be across various measures.
Evap Fan Controls | PICKLIST | Possible Values: Yes, No | Evaporatively Cooled Condenser | Evaporatively Cooled Condenser = [value] |  | Is this the intended meaning? | Additional attribute for the ECM Motor measure
Existing Storage (Gallons) | DOUBLE | Precision: 18.0 | Compressor Capacity | Refrigeration Components = "Compressor" Capacity = [value] Unit Of Measure = "gallons" | gallons | Water tank, thermal storage, other? | Compressor Storage measure
Fan Load - CFM for HVAC | DOUBLE | Precision: 10.8 | Return Air Flow Rate Setpoint | Setpoint Type = "Return air flow rate" Setpoint = [value] Unit Of Measure = "ft3/min" | ft3/min | Do you really want the flow rate or is this intended to be the Fan Load for the required HVAC CFM? See next row. | Unsure. eO needs to follow up with the client on this one.
Fan Load - kW for Refrigeration | DOUBLE | Precision: 10.8 | Refrigeration Fan Demand Load Value | Load Category = "Refrigeration" Load Category = "Fan" Rate Designation = "Demand" Load Value = [value] Unit Of Measure = "kW" | kW | Is this the intended meaning? | Unsure. eO needs to follow up with the client on this one.
Fan or Pump ID | STRING | Max Size: 255 | Fan Pump Identifier | Technology Component = "Fan" Technology Component = "Pump" Identifier = [value] |  | Should these be two separate identifiers? | ECM Motor measure - probably fine to be 1 field
Full Load EER | DOUBLE | Precision: 16.2 | Rated Power EER Efficiency Value | Consumption Rate Type = "Rated power" Efficiency Metric Qualifier = "EER" Efficiency Value = [value] |  | Add Capacity Qualifier = "Full load" qualifier?
Full Load kWTon | DOUBLE | Precision: 15.3 | Chiller Full Load kW Per Ton Efficiency Value | Cooling Type = "Chiller" Qualifier = "Full load" Efficiency Metric Qualifier = "kW per ton" Efficiency Value = [value] Unit Of Measure = "kW/ton" | kW/ton | Cooling Type = "Chiller" as an additional qualifier? | This is for a measure named WaterCooled Chiller, Positive and Centrifugul, so it would make sense to have Chiller as an additional qualifier.
Heat Source Cooling Provided by | PICKLIST | Possible Values: Heat Pump PTA with Electric Heat | Cooling Heating Type | HVAC Category = "Cooling" Heating Type = [value] |  | Not sure if this captures the intended meaning | This is for a Hotel Occupancy Sensor Measure.
Heating Capacity in Tons | DOUBLE | Precision: 17.1 | Heating Capacity | HVAC Category = "Heating" Capacity = [value] Unit Of Measure = "kBtu/hr" | kBtu/hr | Unit Of Measure says kBtu/hr, but field label says Tons (for Heating?)
HP | DOUBLE | Precision: 18.0 | Pre Retrofit Horsepower Motor Characteristic Value | Temporal Status = "Pre retrofit" Motor Characteristic = "Horsepower" Motor Characteristic Value = [value] Unit Of Measure = "hp" | hp | Is this really Pre-retrofit? | Disregard.
HP Controlled by VFD | PICKLIST | Possible Values: 3, 5, 7.5, 10, 15, 15, 20, 25, 30, 40, 50, 60, 75, 100 | Variable Frequency Drive Horsepower Motor Characteristic Value | Motor Characteristic = "Variable frequency drive" Motor Characteristic = "Horsepower" Motor Characteristic Value = [value] | hp | Motor Characteristic Value is not a picklist | Client most likely wants to restrict the numbers available
HP Controlled by VFD | PICKLIST | Possible Values: 3, 5, 7.5, 10, 15, 15, 20 | Variable Frequency Drive Horsepower Motor Characteristic Value | Motor Characteristic = "Variable frequency drive" Motor Characteristic = "Horsepower" Motor Characteristic Value = [value] | hp | Duplicate? | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
HP Motor | PICKLIST | Possible Values: 1, 1.5, 2, 3, 5, 7.5, 10, 15, 20, 25, 30, 40, 50, 60, 75, 100, 125, 150, 200 | Motor Horsepower Motor Characteristic Value | Technology Component = "Motor" Motor Characteristic = "Horsepower" Motor Characteristic Value = [value] | hp
HSPF | DOUBLE | Precision: 17.1 | HSPF Efficiency Value | Efficiency Metric Qualifier = "HSPF" Efficiency Value = [value]
IEER | DOUBLE | Precision: 17.1 | IEER Efficiency Value | Efficiency Metric Qualifier = "IEER" Efficiency Value = [value]
Incentive per Unit Air Compressor | CURRENCY | Precision: 16.2 | Compressor Incentive Funding Amount | Refrigeration Components = "Compressor" Funding Source = "Incentive" Funding Amount = [value] | $
Incentive per Unit HVAC | CURRENCY | Precision: 16.2 | HVAC Equipment Incentive Funding Amount | Schedule Category = "HVAC equipment" Funding Source = "Incentive" Funding Amount = [value] | $
Incentive per Unit Motor | CURRENCY | Precision: 16.2 | Motor Incentive Funding Amount | Technology Component = "Motor" Funding Source = "Incentive" Funding Amount = [value] | $
Incentive per Unit VFD | CURRENCY | Precision: 16.2 | Variable Frequency Drive Incentive Funding Amount | Motor Characteristic = "Variable frequency drive" Funding Source = "Incentive" Funding Amount = [value] | $
Installation Cost | CURRENCY | Precision: 16.2 | Installation Cost | Cost Attribution = "Installation" Cost = [value] | $
Installed Cost | CURRENCY | Precision: 16.2 | Total Net Installed Cost | Cost Attribution = "Total" Cost Attribution = "Net" Date Status = "Installed" Cost = [value] | $
IPLV EER | DOUBLE | Precision 16.2 | IEER Efficiency Value | Efficiency Metric Qualifier = "IEER" Efficiency Value = [value]
IPLV kWTom | DOUBLE | Precision: 15.3 | Part Load Ratio kW Per Ton Efficiency Value | Setpoint Type = "Part load ratio" Efficiency Metric Qualifier = "kW per ton" Efficiency Value = [value]
kW Summer per Unit VFD | DOUBLE | Precision: 10.8 | Variable Frequency Drive Summer Demand Load Value | Motor Characteristic = "Variable frequency drive" Schedule Period = "Summer" Rate Designation = "Demand" Load Value = [value] Unit Of Measure = "kW" | kW
kW Winter per Unit VFD | DOUBLE | Precision: 10.8 | Variable Frequency Drive Winter Demand Load Value | Motor Characteristic = "Variable frequency drive" Schedule Period = "Winter" Rate Designation = "Demand" Load Value = [value] Unit Of Measure = "kW" | kW
kWh off Peak per Unit VFD | DOUBLE | Precision: 10.8 | Variable Frequency Drive Off Peak Resource Value | Motor Characteristic = "Variable frequency drive" Schedule Category = "Off peak" Resource Value = [value] Unit Of Measure = "kWh" | kWh
kWh on Peak per Unit VFD | DOUBLE | Precision: 10.8 | Variable Frequency Drive On Peak Resource Value | Motor Characteristic = "Variable frequency drive" Schedule Category = "On peak" Resource Value = [value] Unit Of Measure = "kWh" | kWh
Lighting Hours | DOUBLE | Precision 18.0 | Lighting Interval Duration | Schedule Category = "Lighting" Interval Duration = [value] Unit Of Measure = "hour" | hour
Location | STRING | Max Size: 255 | Location | Location = [value]
Location | STRING | Max Size: 255 | Location | Location = [value] |  | Duplicate? | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Manufacturer | STRING | Max Size: 255 | Manufacturer | Manufacturer = [value]
MBH Input Size | DOUBLE | Precision: 15.3 |  |  |  | Size of what? | Used for Boiler Combination Boiler Furnace measure
Minimum EER | DOUBLE | Precision: 17.1
Minimum IEER | DOUBLE | Precision: 17.1
Minimum SEER | DOUBLE | Precision: 17.1
Model | STRING | Max Size: 255 | Model Number | Model Number = [value]
Motor Efficiency VFD | DOUBLE | Precision: 1.3 | Variable Frequency Drive Motor Efficiency Value | Motor Characteristic = "Variable frequency drive" Technology Component = "Motor" Efficiency Qualifier = "Efficiency" Efficiency Value = [value]
Motor Enclosure | PICKLIST | Possible Values: ODP, TEFC | NO MAPPING
NEMA Premium Motor Efficiency | DOUBLE | Precision: 1.4 | Motor Efficiency Value | Technology Component = "Motor" Efficiency Qualifier = "Efficiency" Efficiency Value = [value]
Net Tons | DOUBLE | Precision: 17.1 |  |  |  | Net of what? | Used for Boiler and Furnace measures.
New Equipment Is Retrofit Kit? | BOOLEAN |  | New Equipment Action Category | Condition = "New" Technology Category = "Equipment" Action Category = [value] |  | BEDES does not have booleans Not sure what the value of "New" qualifier is | Simple checkbox for reporting purposes.
New Fixture Size | PICKLIST | Possible Values: 1x4 2x2 2x4 | New Fixture Configuration | Condition = "New" Fixture Configuration = [value] |  | Fixture Configuration added to BEDES v2.2 | Noted
Number of Existing Fixtures | DOUBLE | Precision: 18.0 | Existing Fixture Quantity | Condition = "Existing" Lighting Component = "Fixture" Quantity = [value]
Percent Loaded (Enter as Decimal) | DOUBLE | Precision: 1.3 | Partial Operation Percentage | Partial Operation Percentage = [value] | Percent | Note BEDES value is Percent, not decimal Does this need an additional qualifier to say what equipment is being loaded? | No, because this field could be across various measures.
Project Type | PICKLIST | Possible Values: Change in the Use or Function of the Building Space Expansion of an Existing Building New Building New Controls for Improved Operations New Equipment for New Process or Expanded Operation Planned Replacement of Equipment Renovation of an Existing Building Replacement of Failed Equipment | Project Action Category | Action Category = "Project Action Category = [value] |  | See BEDES constrained list for matches | Where is this BEDES constrained list? Action Category https://bedes.lbl.gov/bedes-online/action-category
Quantity of Controls | DOUBLE | Precision: 18.0 | Sensor Quantity | Control Technology = "Sensor" Quantity = [value]
RPM | PICKLIST | Possible Values: 1200, 1800, 3600 | RPM Motor Characteristic Value | Motor Characteristic = "RPM" Motor Characteristic Value = [value]
Savings Factor | DOUBLE | Precision: 1.17 |  |  |  | How is the Factor calculated? | Returned value for Air Compressor measure
SEER | DOUBLE | Precision: 17.1 | SEER Efficiency Value | Efficiency Metric Qualifier = "SEER" Efficiency Value = [value]
Size (BTU) | DOUBLE | Precision: 18.0 | Capacity | Capacity = [value] Unit Of Measure = "Btu/hr" | Btu/hr | Size of what? | Used in Multiple Measures
Size of Controlled Unit (BTU) | DOUBLE | Precision: 18.0 | Capacity | Capacity = [value] Unit Of Measure = "Cooling ton" | Cooling ton | What controlled unit? | Used in Boiler Reset Control measures.
Split or Packaged System | PICKLIST | Possible Values: Split, Packaged
System Type | PICKLIST | Possible Values: Refrigeration, HVAC | Air Distribution Type | Air Distribution Type = [value] |  | Is this desired mapping? Also see Heating or Cooling Type | Attribute for ECM Motor measures.
Thermal Efficiency | PERCENT | Precision: 17.1 | Thermal Efficiency Value | Efficiency Qualifier = "Thermal" Efficiency Value = [value]
Unit Size AHRI Net Tons | PICKLIST | Possible Values: < 150 Tons ≥ 150 Tons and < 300 Tons ≥ 300 Tons and < 400 Tons ≥ 400 Tons | NO MAPPING
VFD Controlling Parameter | PICKLIST | Possible Values: Pressure Differential, Temperature Differential, Flow Differential, Other - Please Specify | Variable Frequency Drive Control Strategy | Motor Characteristic = "Variable frequency drive" Control Strategy = [value] |  | Will require custom values | Noted
VFD Other Controlling Parameter | STRING | Max Size: 255 | Variable Frequency Drive Control Strategy | Motor Characteristic = "Variable frequency drive" Control Strategy = [value] |  | Will require custom values | Noted
Weighted Avg Energy per HP | DOUBLE | Precision: 16.2 | NO MAPPING
Project Type | PICKLIST | Possible Values: Change in the Use or Function of the Building Space Expansion of an Existing Building New Building New Controls for Improved Operations New Equipment for New Process or Expanded Operation Planned Replacement of Equipment Renovation of an Existing Building Replacement of Failed Equipment |  |  |  | Duplicate with row 70? | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Annual Operating Hours | DOUBLE | Precision: 18.0 | Annual Operating Interval Duration | Interval Frequency = "Annual" Schedule Category = "Operating" Interval Duration = [value] Unit Of Measure = "hours" | hours
Controlled Wattage of Networked Group | DOUBLE | Precision: 18.0 | NO MAPPING
Controlled Watts per Fixture | DOUBLE | Precision: 18.0 | Watts Per Lamp Consumption Rate | Consumption Rate Type = "Watts per lamp" Consumption Rate = [value] Unit of Measure = "W" | W | Note Fixture vs Lamp. Can change qualifier. What is Controlled qualifier intended meaning?
Designed Total Lighting Load | DOUBLE | Precision: 18.0 | Design Total Lighting Load Value | Setpoint Setting Condition = "Design" End Use = "Total lighting" Load Value = [value] Unit of Measure = "W" | W
DLC Standard or Premium | PICKLIST | Possible Values: DLC Standard DLC Premium | NO MAPPING
Fixture Description | STRING | MAX SIZE: 255 | Fixture Description | Lighting Component = "Fixture" Description = [value]
High Output | PICKLIST | Possible Values: Yes No | Output Capacity | Output Capacity = [value] Unit Of Measure = "kW" | kW
Length | PICKLIST | Possible Values: 3-Foot or 4-Foot 5-Foot or 6-Foot | Length | Length = [value] | ft | Note BEDES is not a picklist | Noted, but client wants to have ranges.
Lighting Hours | DOUBLE | Precision: 18.0 |  |  |  | Per day, week, annual?
Location | STRING | MAX SIZE: 255 | Location | Location = [value]
New Equipment Is Retrofit Kit? | BOOLEAN |  |  |  |  | Duplicate with row 66? Or different equipment? If latter, then another qualifier is needed. | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
New Fixture Size | PICKLIST | Possible Values: 1x4 2x2 2x4 |  |  |  | Duplicate with row 67? Or different equipment? If latter, then another qualifier is needed. | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Number of Existing Fixtures | DOUBLE | Precision: 18.0 |  |  |  | Duplicate with row 68? Or different equipment? If latter, then another qualifier is needed. | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Product Type | PICKLIST | Possible Values: LED Two & Four foot Linear & U-Bend Retrofit Tube Kits and Driver LED Four-foot Linear Retrofit Tube Kits and Driver | Lamp Type | Lamp Type = [value]
Proposed Tier | PICKLIST | Possible Values: Tier 1 Tier 2 Tier 3 | Proposed Tier ID | Implementation Status = "Proposed" Tier ID = [value]
Quantity Center-Mount Fixtures | DOUBLE | Precision: 18.0 | NO MAPPING
Quantity End-Mount Fixtures | DOUBLE | Precision: 18.0 | NO MAPPING
Specific Location of Sensors | STRING | MAX SIZE: 255 | Sensor Location | Control Technology = "Sensor" Location = [value]
Total Allowed Supplemental Watts | DOUBLE | Precision: 18.0 | NO MAPPING
Total Allowed Watts | DOUBLE | Precision: 18.0 | NO MAPPING
Total Existing Watts | DOUBLE | Precision: 18.0 | Pre Retrofit Watts Per Lamp Consumption Rate | Temporal Status = "Pre retrofit" Consumption Rate Type = "Watts per lamp" Consumption Rate = [value] Unit of Measure = "W" | W
Total Floor Area of Office-Open Plan | DOUBLE | Precision: 18.0 | Office Work Area Floor Area | Occupancy Classification = "Office work area" Opaque Surface = "Floor" Area = [value]
Total Load Controlled By System (Watts) | DOUBLE | Precision: 18.0 | Total Controlled Load Value | Interval Measure = "Total" Control Strategy = "Controlled" Load Value = [value] Unit Of Measure = "W" | W
Total Number Control Points | DOUBLE | Precision: 18.0 | Sensor Quantity | Control Technology = "Sensor" Quantity = [value]
Total Project Floor Area on COMCheck | DOUBLE | Precision: 18.0 | NO MAPPING
Total Proposed Watts | DOUBLE | Precision: 18.0 | Total Proposed Load Value | Interval Measure = "Total" Implementation Status = "Proposed" Load Value = [value] Unit Of Measure = "W"
Total Quantity Controlled Fixtures | DOUBLE | Precision: 18.0 | Controlled Fixture Quantity | Control Strategy = "Controlled" Lighting Component = "Fixture" Quantity = [value]
Total Watts per Sensor | DOUBLE | Precision: 18.0 | Sensor Load Value | Control Technology = "Sensor" Load Value = [value] Unit Of Measure = "W"
BTU | DOUBLE | Precision: 18.0 |  |  |  | BTU measure of what? | British Thermal Unit
Date Installed | DATE |  | Installed Date | Date Status = "Installed" Date = [value] |  | Duplicate with row 18? | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
GPM | DOUBLE | Precision: 18.0 | Pre Retrofit Flow Rate Setpoint | Temporal Status = "Pre retrofit" Setpoint Type = "Flow rate" Setpoint = [value] Unit Of Measure = "gpm" | gpm
Installation Cost | CURRENCY | Precision: 16.2 |  |  |  | Duplicate with row 45? | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Installed Cost | CURRENCY | Precision: 16.2 | Total Net Installed Cost | Cost Attribution = "Total" Cost Attribution = "Net" Date Status = "Installed" Cost = [value] | $
Location | STRING | MAX SIZE: 255 | Location | Location = [value] |  | Duplicate | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Manufacturer | STRING | MAX SIZE: 255 | Manufacturer | Manufacturer = [value] |  | Duplicate | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Model | STRING | MAX SIZE: 255 | Model Number | Model Number = [value]
Serial Number | STRING | MAX SIZE: 255 | Serial Number | Serial Number = [value]
BTU | DOUBLE | Precision: 18.0 |  |  |  | BTU measure of what? | British Thermal Unit
Cabinet Size | PICKLIST | Possible Values: 3/4 Size Full Size Half Size |  |  |  | What kind of cabinet? | Food Holding Cabinet measures.
Date Installed | DATE |  |  |  |  | Duplicate | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Dishwasher Type | PICKLIST | Possible Values: Door Type Single Tank Conveyor Under Counter | Dishwasher Configuration | Dishwasher Configuration = [value]
Electric Fryer Type | PICKLIST | Possible Values: Standard Large Vat | Cooking Appliance Type | Cooking Appliance Type = [value]
Electric Oven Type | PICKLIST | Possible Values: Combi-Oven Convection Oven | Cooking Appliance Type | Cooking Appliance Type = [value]
Gas Oven Type | PICKLIST | Possible Values: combi-Oven Convection Oven | Cooking Appliance Type | Cooking Appliance Type = [value]
Ice Machine Type | PICKLIST | Possible Values: Ice Making Head Remote Cond./Split Unit Self Contained | Ice Machine | Ice Machine = [value]
Installation Cost | CURRENCY | Precision: 16.2 |  |  |  | Duplicate | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Manufacturer | STRING | MAX SIZE: 255 | Manufacturer | Manufacturer = [value] |  | Duplicate | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Model | STRING | MAX SIZE: 255 | Model Number | Model Number = [value] |  | Duplicate | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Project Type | PICKLIST | Possible Values: Change in the Use or Function of the Building Space Expansion of an Existing Building New Building New Controls for Improved Operations New Equipment for New Process or Expanded Operation Planned Replacement of Equipment Renovation of an Existing Building Replacement of Failed Equipment |  |  |  | Duplicate | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Serial Number | STRING | MAX SIZE: 255 | Serial Number | Serial Number = [value] |  | Duplicate | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Control Quantity | DOUBLE | Precision: 18.0 | Sensor Quantity | Control Technology = "Sensor" Quantity = [value] |  | Duplicate | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Location | STRING | MAX SIZE: 255 | Location | Location = [value] |  | Duplicate | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Model | STRING | MAX SIZE: 255 | Location | Location = [value] |  | Duplicate | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Vending Miser Type | STRING | MAX SIZE: 255 |  |  |  | ? | Vending Miser measures.
Alternate or Backup? | PICKLIST | Possible Values: Yes No | Priority | Priority = [value]
Annual Operating Hours | DOUBLE | Precision: 18.0 | Annual Operating Interval Duration | Interval Frequency = "Annual" Schedule Category = "Operating" Interval Duration = [value] Unit Of Measure = "hours" | hours
Connected Motor? | PICKLIST | Possible Values: Yes No |  |  |  | ? | Variable Speed Drive - New Construction and Retrofit Measures.
Estimated Incentive | CURRENCY | Precision: 16.2 | Estimated Incentive Funding Amount | Derivation Method = "Estimated" Funding Source = "Incentive" Funding Amount = [value] | $
If Other Controlling Parameter, Specify | STRING | MAX SIZE: 255 |  |  |  | ? | text field to capture data when 'Controlling Parameter' picklist is Other
NEMA Prem Efficiency | DOUBLE | Precision: 8.1 | NO MAPPING
Project Type | PICKLIST | Possible Values: Change in the Use or Function of the Building Space Expansion of an Existing Building New Building New Controls for Improved Operations New Equipment for New Process or Expanded Operation Planned Replacement of Equipment Renovation of an Existing Building Replacement of Failed Equipment |  |  |  | Duplicate | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
VSD Controlling Parameter | PICKLIST | Possible Values: Pressure Differential Temperature Differential Other | NO MAPPING
VSD Horsepower | PICKLIST | Possible Values: 1-3 5-7.5 10 15 20 25 30 40 50 | Horsepower Motor Characteristic Value | Motor Characteristic = "Horsepower" Motor Characteristic Value = [value] Unit Of Measure = "hp" | hp
VSD Installation Type | PICKLIST | Possible Values: Boiler Draft Fan Building Exhaust Fan Cooling Tower Fan (Single Speed Only) Chilled / Cond Water Pump Boiler Feed Water Pump Hot Water Circ Pump Make-Up Air Fan Process Cooling Pump Process Exhaust and Make-Up Fan HVAC Return Air Fan HVAC Supply Air Fan WS Heat Pump Circ Loop | NO MAPPING
Annual Heating Therm Savings | DOUBLE | Precision: 10.8 | Annual Heating Resource Savings | Interval Frequency = "Annual" End Use = "Heating" Resource Savings = [value] Unit of Measure = "Therm" | Therm
Annual O&M/Labor/Materials Savings ($) | CURRENCY | Precision: 16.2 | Annual Operating Maintenance Labor Material Cost Savings | Interval Frequency = "Annual" Cost Attribution = "Operating" Cost Attribution = "Maintenance" Cost Attribution = "Labor" Cost Attribution = "Material" Cost Savings = [value] | $
Annual Process/Hot Water Therm Savings | DOUBLE | Precision: 10.8 | Annual Process Load Domestic Hot Water Resource Savings | Interval Frequency = "Annual" End Use = "Process load" End Use = "Domestic hot water" Resource Savings = [value] Unit of Measure = "Therm" | Therm
Average Peak kW - August | DOUBLE | Precision: 10.8 | Month Average On Peak Electricity Resource Value | Interval Frequency = "Month" Interval Measure = "Average" Interval Measure = "On peak" Resource = "Electricity" Resource Value = [value] Unit Of Measure = "kW" | kW | No named month qualifier in BEDES | This field is a way to capture key months for the client.
Average Peak kW - December | DOUBLE | Precision: 10.8
Average Peak kW - January | DOUBLE | Precision: 10.8
Average Peak kW - July | DOUBLE | Precision: 10.8
Average Peak kW - June | DOUBLE | Precision: 10.8
End Use | PICKLIST | Possible Values: Building Shell Combined Heat and Power Compressed Air Control Food Service Heating Heat Recovery Hot Water HVAC Lighting Other Process Refrigeration Steam Trap Ventilation | End Use | End Use = [value]
Estimated Incremental Labor Cost | CURRENCY | Precision: 16.2 | Estimated Incremental Labor Cost | Derivation Method = "Estimated" Cost Attribution = "Incremental" Cost Attribution = "Labor" Cost = [value] | $
Estimated Incremental Material Cost | CURRENCY | Precision: 16.2 | Estimated Incremental Material Cost | Derivation Method = "Estimated" Cost Attribution = "Incremental" Cost Attribution = "Material" Cost = [value] | $
Estimated Labor Cost | CURRENCY | Precision: 16.2 | Estimated Labor Cost | Derivation Method = "Estimated" Cost Attribution = "Labor" Cost = [value] | $
Estimated Material Cost | CURRENCY | Precision: 16.2 | Estimated Material Cost | Derivation Method = "Estimated" Cost Attribution = "Material" Cost = [value] | $
Off Peak Energy: Summer kWh | DOUBLE | Precision: 10.8 | Summer Off Peak Energy Resource Value | Schedule Period = "Summer" Interval Measure = "Off peak" Resource = "Energy" Resource Value = [value] Unit Of Measure = "kWh" | kWh
Off Peak Energy: Winter kWh | DOUBLE | Precision: 10.8 | Winter Off Peak Energy Resource Value | Schedule Period = "Winter" Interval Measure = "Off peak" Resource = "Energy" Resource Value = [value] Unit Of Measure = "kWh" | kWh
Oil Savings (MMBtus) | DOUBLE | Precision: 10.8 | Fuel Oil Resource Savings | Resource = "Fuel oil" Resource Savings = [value] Unit Of Measure = "MMBtu" | MMBtu
Other One-Time Savings ($) | CURRENCY | Precision: 16.2
Other Year-Round Therm Savings | DOUBLE | Precision: 10.8 | Other Annual Natural Gas Resource Savings | Interval Measure = "Other" Interval Frequency = "Annual" Resource = "Natural gas" Resource Savings = [value] Unit of Measure = "Therm" | Therm | Is Natural Gas correct? | Custom - New Construction and Retrofit measures.
Peak Energy: Summer kWh | DOUBLE | Precision: 10.8 | Summer On Peak Energy Resource Value | Schedule Period = "Summer" Interval Measure = "On peak" Resource = "Energy" Resource Value = [value] Unit Of Measure = "kWh" | kWh
Peak Energy: Winter kWh | DOUBLE | Precision: 10.8 | Winter On Peak Energy Resource Value | Schedule Period = "Winter" Interval Measure = "On peak" Resource = "Energy" Resource Value = [value] Unit Of Measure = "kWh" | kWh
Project Type | PICKLIST | Possible Values: Change in the Use or Function of the Building Space Expansion of an Existing Building New Building New Controls for Improved Operations New Equipment for New Process or Expanded Operation Planned Replacement of Equipment Renovation of an Existing Building Replacement of Failed Equipment |  |  |  | dupicate | yes and no. this most likely maps to a different 'measure context' - a way for EO to manage different Measure Types
Propane Savings (MMBtus) | DOUBLE | Precision: 10.8 | Propane Resource Savings | Resource = "Propane" Resource Savings = [value] Unit Of Measure = "MMBtu" | MMBtu
Sewer Savings (Gallons) | DOUBLE | Precision: 10.8 | Wastewater Resource Savings | Resource = "Wastewater" Resource Savings = [value] Unit Of Measure = "gallons" | gallons
Water Savings (Gallons) | DOUBLE | Precision: 10.8 | Water Resource Savings | Resource = "Water" Resource Savings = [value] Unit Of Measure = "gallons" | gallons
Analyst Hourly Rate | CURRENCY | Precision: 16.2 | Energy Modeler Hour Cost | Contact Label = "Energy modeler" Interval Frequency = "Hour" Cost = [value] | $ | Is Energy modeler appropriate?
Analyst Hours | DOUBLE | Precision: 16.2 | Energy Modeler Labor Hours | Contact Label = "Energy modeler" Labor Hours = [value] | hours
Engineer Hourly Rate | CURRENCY | Precision: 16.2 | Engineer Hour Cost | Contact Label = "Engineer" Interval Frequency = "Hour" Cost = [value] | $
Engineer Hours | DOUBLE | Precision: 16.2 | Engineer Labor Hours | Contact Label = "Engineer" Labor Hours = [value] | hours
Estimated Annual kWh Savings | DOUBLE | Precision: 16.2 | Estimated Annual Electricity Resource Savings | Derivation Method = "Estimated" Interval Frequency = "Annual" Resource = "Electricity" Resource Savings = [value] Unit of Measure = "kWh" | kWh
Estimated Annual Therms Savings | DOUBLE | Precision: 16.2 | Estimated Annual Natural Gas Resource Savings | Derivation Method = "Estimated" Interval Frequency = "Annual" Resource = "Natural Gas" Resource Savings = [value] Unit of Measure = "Therm" | Therm | Is Natural Gas correct? | Yes
Item Description | STRING | MAX SIZE: 255 | Description | Description = [value]
Item Total Cost ($) | CURRENCY | Precision: 16.2 | Total Cost | Cost Attribution = "Total" Cost = [value] | $
Item Type | PICKLIST | Possible Values: Proposed Energy Efficiency Measure Itemized Expense | NO MAPPING
Senior Engineer Hourly Rate | CURRENCY | Precision: 16.2 | NO MAPPING
Senior Engineer Hours | DOUBLE | Precision: 16.2 | NO MAPPING
Typical Simple Payback Years | DOUBLE | Precision: 16.2 | Simple Payback Cost Effectiveness Valuue | Cost Effectiveness Screening Method = "Simple payback" Cost Effectiveness Value = [value] Unit Of Measure = "Years" | Years
Specific Measure Implemented | STRING | MAX SIZE: 255 | Completed Measure Technology Category | Implementation Status = "Completed" Action Category = "Measure" Technology Category = [value]
Air Compressor CFM | DOUBLE | Precision: 16.2 | Return Air Flow Rate Setpoint | Setpoint Type = "Return air flow rate" Setpoint = [value] Unit Of Measure = "ft3/min" | ft3/min
Annual Operating Hours | DOUBLE | Precision: 18.0 | Annual Operating Interval Duration | Interval Frequency = "Annual" Schedule Category = "Operating" Interval Duration = [value] Unit Of Measure = "hours" | hours
Compressor Control Type | PICKLIST | Possible Values: VSD | Compressor Control Strategy | Refrigeration Components = "Compressor" Control Strategy = [value]
Compressor Loading (% Rated CFM) | STRING | MAX SIZE: 255 | Return Air Flow Rate Setpoint | Setpoint Type = "Return air flow rate" Setpoint = [value] Unit Of Measure = "ft3/min" | ft3/min
Dryer Type | PICKLIST |  | Clothes Dryer Type | Clothes Dryer Type = [value]
Existing Storage in Gallons (B) | DOUBLE | Precision: 18.0 | Pre Retrofit Tank Capacity | Temporal Status = "Pre retrofit" Technology Component = "Tank" Capacity = [value] Unit Of Measure = "gallons" | gallons | Can use Existing qualifier if desired
Existing System PSI | STRING | MAX SIZE: 255 |  |  |  | ? | Low Pressure Drop Filter measures
Filter Size (SCFM) | DOUBLE | Precision: 16.2 | Return Air Flow Rate Setpoint | Setpoint Type = "Return air flow rate" Setpoint = [value] Unit Of Measure = "ft3/min" | ft3/min
Hours per Week | DOUBLE | Precision: 18.0 | Average Weekly Hours | Average Weekly Hours = [value] | hours | Of what? | Compressed Air System measures
Inlet/Outlet Connection (Inch) | STRING | MAX SIZE: 255 | NO MAPPING
Manufacturer | STRING | MAX SIZE: 255 | Manufacturer | Manufacturer = [value]
Model | STRING | MAX SIZE: 255 | Model Number | Model Number = [value]
Nozzle Size | PICKLIST | Possible Values: 1/8" 1/4" | NO MAPPING
Operating PSI | DOUBLE | Precision: 18.0 |  |  |  | ? | Multiple measures
Operating PSI | STRING | MAX SIZE: 255 |  |  |  | Duplicate | Multiple measures
Primary Storage (Gallons) | DOUBLE | Precision: 18.0 |  |  |  | Of what? | Multiple measures
Project Type | PICKLIST | Possible Values: Change in the Use or Function of the Building Space Expansion of an Existing Building New Building New Controls for Improved Operations New Equipment for New Process or Expanded Operation Planned Replacement of Equipment Renovation of an Existing Building Replacement of Failed Equipment |  |  |  | Duplicate
Proposed System PSI | STRING | MAX SIZE: 255 |  |  |  | ? | Low Pressure Drop Filter measure
Rated CFM | DOUBLE | Precision: 16.2 | Return Air Flow Rate Setpoint | Setpoint Type = "Return air flow rate" Setpoint = [value] Unit Of Measure = "ft3/min" | ft3/min
Rated HP | DOUBLE | Precision: 17.1 | Rate Power Horsepower Motor Characteristic Value | Consumption Rate Type = "Rated power" Motor Characteristic = "Horsepower" Motor Characteristic Value = [value] | hp
Required Storage in Gallons (A) | DOUBLE | Precision: 18.0 | NO MAPPING
SCFM Existing | DOUBLE | Precision: 16.2 | Return Air Flow Rate Setpoint | Setpoint Type = "Return air flow rate" Setpoint = [value] Unit Of Measure = "ft3/min" | ft3/min
SCFM Proposed | DOUBLE | Precision: 16.2 | Return Air Flow Rate Setpoint | Setpoint Type = "Return air flow rate" Setpoint = [value] Unit Of Measure = "ft3/min" | ft3/min
Storage Requirement in Gallons (A-B) | DOUBLE | Precision: 18.0 | NO MAPPING

## Lookups (hidden)
Measure_Context_Custom__c
Measure_Context_Food_Service__c
Measure_Context_HVAC__c
Measure_Context_Lighting__c
Measure_Context_Motors_and_Drives__c
Measure_Context_Other__c
Measure_Context_WH__c
Measure_Context_Weatherization__c
eo3es__Component_Program_Attribute__c